DATA RECEIVED FROM CARREFOUR ITALIA

Application Cool Roof on Assago Hypermarket

Energy Manager : Mr. Giovanni Piano

original surface                                                                                      application on roof

…. on roof top                                                                                        final result

CONSUMPTION DATA

Sales area:  16.000 sqm.     -  sales area internal height: 7 mt.

Diesel consumption (average years 2004-2010): 150,000 liters / year

Natural gas consumption in 2011 (with new condensing boilers with natural gas): 95,000 mc

Total average annual electricity consumption: 7,000 MWh

Consumption (weekly) measured on multimeters CDZ (week average for the period July-August):

- WITHOUT COOL ROOF

2007:  44.573 kWh  -  2008: 46.783 kWh  -  2009: 46.627 kWh  -  2010: 45.259 kWh

average :  45.810 kWh

- WITH COOL ROOF

2011:  33.500 kWh (-27%)